## Sheet1
Ignition:Test Time = 0:00 April 24,2014 | Minutes | Seconds | Data Time (s) | Data Time = 4:00 | Video Deck Time = 18:03:47 | Video Recording Time = 17:53
|  |  |  | Event | Observation
|  |  | 0 | Start of pretest
|  |  | 240 | Start of test
1:20 | 1 | 20 | 320 |  | Smoke out of Front Door
Fire is decay stage, steady state
8:00 | 8 | 0 | 720 | Water flowing from monitor, SS, 95 gpm Mid Ceiling
9:00 | 9 | 0 | 780 | Water off
11:00 | 11 | 0 | 900 | Water flowing from monitor, narrow fog, 95 gpm Mid Ceiling
12:00 | 12 | 0 | 960 | Monitor off
Check video | 14 | 30 | 1110 | Water flowing from monitor, changed spray pattern to wide fog, 95 gpm
Check video |  |  |  | Monitor off
17:00 | 17 | 0 | 1260 | Opened small hole in North Door, 8 inch by 9 inch
Check video |  |  |  | South Door to Fire Room Vented
21:00 | 21 | 0 | 1500 | Handline attack from North doorway, moved in for suppression SS, 95 gpm
22:00 | 22 | 0 | 1560 | Handline off
31:00 | 31 | 0 | 2100 | Handline attack from North doorway, moved in for suppression SS, 95 gpm
34:00 | 34 | 0 | 2280 | Off Check IR for details.