## Slide 1
Impact of Venting the Living Room Window
Bidirectional Flow
(Both Inlet and Outlet)
At 7 ft: 120°F → 120°F
At 1 ft: 70°F → 70°F
At 3 ft: 20% O2 → 20% O2
1% CO2 → 1% CO2
0% CO → 0% CO
0 kW/m2 → 0 kW/m2
Front Bedroom
At 7 ft: 300°F → 300°F
At 1 ft: 100°F → 100°F
Rear Bedroom
At 7 ft: 300°F → 300°F
At 1 ft: 100°F → 100°F
7 kW/m2 → 5 kW/m2
Middle Bedroom
At 7 ft: 400°F → 450°F
At 1 ft: 100°F → 100°F
Kitchen
At 7 ft: 600°F → 700°F
At 1 ft: 200°F → 200°F
Living Room
214 Folsom St. Experiment 1

## Slide 2
Impact of Exterior Attack through Living Room Window with no other Ventilation
Exterior Water Application
Bidirectional Flow
(Both Inlet and Outlet)
At 7 ft: 120°F → 120°F
At 1 ft: 70°F → 70°F
At 3 ft: 20% O2 → 20% O2
1% CO2 → 1% CO2
0% CO → 0% CO
0 kW/m2 → 0 kW/m2
Front Bedroom
At 7 ft: 300°F → 250°F
At 1 ft: 100°F → 100°F
Rear Bedroom
At 7 ft: 300°F → 250°F
At 1 ft: 100°F → 100°F
5 kW/m2 → 4 kW/m2
Middle Bedroom
At 7 ft: 450°F → 300°F
At 1 ft: 100°F → 100°F
Kitchen
At 7 ft: 700°F → 100°F
At 1 ft: 200°F → 70°F
Living Room
214 Folsom St. Experiment 1
~ 30 seconds of water

## Slide 3
Impact of Venting the
Middle (Target) Bedroom Window
At 7 ft: 1700 °F → 1600 °F
At 1 ft: 1700 °F → 1600 °F
Rear (Burn) Bedroom
At 7 ft: 400 °F → 500 °F
At 1 ft: 150 °F → 150 °F
Middle (Target) Bedroom
At 7 ft: 800 °F → 1000 °F
At 1 ft: 200 °F → 200 °F
Kitchen
214 Folsom St. Experiment 2

## Slide 4
Impact of Exterior Attack through
Rear Bedroom Window
Exterior Water Application
At 7 ft: 1600 °F → 400 °F
At 1 ft: 1600 °F → 400°F
Rear (Burn) Bedroom
At 7 ft: 500 °F → 150 °F
At 1 ft: 150 °F → 100 °F
Middle (Target) Bedroom
At 7 ft: 1000 °F → 150 °F
At 1 ft: 200 °F → 50 °F
Kitchen
214 Folsom St. Experiment 2
~ 1 min. 20 sec of water

## Slide 5
At 7 ft: 80 °F → 90 °F
At 1 ft: 50 °F → 50 °F
At 3 ft: 20% O2 → 20% O2
0% CO2 → 0% CO2
0% CO → 0% CO
3 kW/m2 → 3 kW/m2
Door Knob Inside Room:
100 °F → 200 °F
Door Knob Exposed to Fire:
700 °F → 1200 °F
Front Bedroom
At 7 ft: 70 °F → 75 °F
At 1 ft: 50 °F → 50 °F
Rear Bedroom
Middle Bedroom
At 7 ft: 500 °F → 700 °F
At 1 ft: 200 °F → 300 °F
Kitchen
At 7 ft: 1100 °F → 1400 °F
At 1 ft: 400 °F → 300 °F
Living Room
Impact of Opening the Front Door
215 Folsom St. Experiment 1
At 7 ft: 600 °F → 700 °F
At 1 ft: 200 °F → 300 °F
At 3 ft: 4 kW/m2 →
4 kW/m2

## Slide 6
Exterior Water Application
At 7 ft: 75 °F → 75 °F
At 1 ft: 50 °F → 50 °F
Rear Bedroom
At 7 ft: 700 °F → 200 °F
At 1 ft: 300 °F → 100 °F
At 3 ft: 4 kW/m2 →
1 kW/m2
Middle Bedroom
At 7 ft: 700 °F → 200 °F
At 1 ft: 300 °F → 100 °F
Kitchen
At 7 ft: 1400 °F → 200 °F
At 1 ft: 300 °F → 70 °F
Living Room
Impact of Exterior Water through the Front Door
215 Folsom St. Experiment 1
~ 75 seconds of water
At 7 ft: 90 °F → 80 °F
At 1 ft: 50 °F → 50 °F
At 3 ft: 20% O2 → 20% O2
0% CO2 → 0% CO2
0% CO → 0% CO
3 kW/m2 → 1 kW/m2
Door Knob Inside Room:
200 °F → 100 °F
Door Knob Exposed to Fire:
1200 °F → 300 °F
Front Bedroom

## Slide 7
At 7 ft: 1100 °F → 1500 °F
At 1 ft: 600 °F → 1500 °F
Rear (Burn) Bedroom
At 7 ft: 600 °F → 600 °F
At 1 ft: 300 °F → 300 °F
Middle (Target) Bedroom
Impact of Venting the
Rear (Burn) Bedroom Window
215 Folsom St. Experiment 2

## Slide 8
At 7 ft: 1500 °F → 2300 °F
At 1 ft: 1500 °F → 100 °F
Rear (Burn) Bedroom
At 7 ft: 600 °F → 700 °F
At 1 ft: 300 °F → 300 °F
Middle (Target) Bedroom
Impact of Fog Nozzle Suppression through
Rear (Burn) Bedroom Window
215 Folsom St. Experiment 2
~ 10 seconds
Exterior Water Application

## Slide 9
At 7 ft: 2300 °F → 600 °F
At 1 ft: 100 °F → 100 °F
Rear (Burn) Bedroom
At 7 ft: 700 °F → 200 °F
At 1 ft: 300 °F → 100 °F
Middle (Target) Bedroom
215 Folsom St. Experiment 2
Additional ~ 50 seconds
Exterior Water Application
Impact of Fog Nozzle Suppression through
Rear (Burn) Bedroom Window

## Slide 10
At 7 ft: 350°F → 250°F
At 1 ft: 100°F → 100°F
At 3 ft: 5 kW/m2 → 5 kW/m2
Front Bedroom
At 7 ft: 90°F → 90°F
At 1 ft: 50°F → 50°F
At 3 ft: 0 kW/m2 → 0 kW/m2
Rear Bedroom
At 7 ft: 1000°F → 700°F
At 1 ft: 200°F → 100°F
Burn Room
At 7 ft: 600°F → 350 °F
At 1 ft: 100 °F → 100°F
Living Room
Impact of Venting the Burn Room Window
218 Folsom St. Experiment 1

## Slide 11
Exterior Water Application
At 7 ft: 250°F → 150°F
At 1 ft: 100°F → 100°F
At 3 ft: 5 kW/m2 → 1 kW/m2
Front Bedroom
At 7 ft: 90°F → 100°F
At 1 ft: 50°F → 70°F
At 3 ft: 0 kW/m2 → 0 kW/m2
Rear Bedroom
At 7 ft: 700°F → 100°F
At 1 ft: 100°F → 50°F
Burn Room
At 7 ft: 350°F → 150 °F
At 1 ft: 100 °F → 100°F
Living Room
Impact of Exterior Attack through Burn Room Window with no other Ventilation
218 Folsom St. Experiment 1
~ 2 minutes of water

## Slide 12
At 7 ft: 300 °F → 600 °F
At 1 ft: 100 °F → 200 °F
Front Bedroom
At 7 ft: 500 °F → 1200 °F
At 1 ft: 100 °F → 500 °F
Rear Bedroom
Impact of Venting the
Front (Target) Bedroom Window
218 Folsom St. Experiment 2

## Slide 13
At 7 ft: 600°F → 700°F
At 1 ft: 200°F → 200°F
Front Bedroom
At 7 ft: 1200 °F → 1600 °F
At 1 ft: 500 °F → 1100 °F
Rear Bedroom
Impact of Venting the
Rear (Burn) Bedroom Window
218 Folsom St. Experiment 2

## Slide 14
Exterior Water Application
At 7 ft: 700°F → 800°F
At 1 ft: 200°F → 300°F
Front Bedroom
At 7 ft: 1600 °F → 1300 °F
At 1 ft: 1100 °F → 1100 °F
Rear Bedroom
Impact of Exterior Attack through
Rear (Burn) Bedroom Window
218 Folsom St. Experiment 2
~ 10 sec of water

## Slide 15
Exterior Water Application
At 7 ft: 800°F → 200°F
At 1 ft: 300°F → 100°F
Front Bedroom
Impact of Exterior Attack through
Rear (Burn) Bedroom Window
218 Folsom St. Experiment 2
Additional ~ 1 min. 30 sec of water

## Slide 16
At 7 ft: 55°F → 60°F
At 1 ft: 50°F → 50°F
At 3 ft: 0 kW/m2 → 0 kW/m2
Front Bedroom
At 7 ft: 100°F → 500°F
At 1 ft: 50°F → 100°F
Living Room
At 7 ft: 100°F → 500°F
At 1 ft: 50°F → 100°F
At 3 ft: 20% O2 → 12% O2
0% CO2 → 8% CO2
0% CO → 1% CO
0 kW/m2 → 4 kW/m2
Kitchen
At 7 ft: 200 °F → 1100 °F
At 1 ft: 50 °F → 300°F
Rear Bedroom
Impact of Opening the Front Door
219 Folsom St. Experiment 1
At 3 ft: 100°F → 550°F
0 kW/m2 → 12 kW/m2
Turnout Gear

## Slide 17
At 7 ft: 60°F → 65°F
At 1 ft: 50°F → 50°F
At 3 ft: 0 kW/m2 → 0 kW/m2
Front Bedroom
At 7 ft: 500°F → 600°F
At 1 ft: 100°F → 100°F
Living Room
At 7 ft: 500°F → 600°F
At 1 ft: 100°F → 100°F
At 3 ft: 12% O2 → 4% O2
8% CO2 → 8% CO2
1% CO → 3% CO
4 kW/m2 → 5 kW/m2
Kitchen
At 7 ft: 1100 °F → 1600 °F
At 1 ft: 300 °F → 1600°F
Rear Bedroom
Impact of Venting the Bedroom Window
219 Folsom St. Experiment 1
At 3 ft: 550°F → 800°F
12 kW/m2 → 30 kW/m2
Turnout Gear

## Slide 18
Interior Water Application
At 7 ft: 65 °F → 63 °F
At 1 ft: 50 °F → 50 °F
At 3 ft: 0 kW/m2 → 0 kW/m2
Front Bedroom
At 7 ft: 1600 °F → 100 °F
At 1 ft: 1600 °F → 100 °F
Rear Bedroom
At 7 ft: 600 °F → 200 °F
At 1 ft: 100 °F → 75 °F
At 3 ft: 4% O2 → 17% O2
8% CO2 → 3% CO2
3% CO → 1% CO
5 kW/m2 → 0 kW/m2
Kitchen
At 7 ft: 600 °F → 150 °F
At 1 ft: 100 °F → 50 °F
Living Room
Impact of Interior Water Application
219 Folsom St. Experiment 1
~ 65 seconds of water
At 3 ft: 800°F → 150°F
30 kW/m2 → 0 kW/m2
Turnout Gear

## Slide 19
Impact of Venting the Kitchen Window
At 7 ft: 1100 °F → 1300°F
At 1 ft: 200°F → 400°F
Burn Room
At 7 ft: 600 °F → 1100 °F
At 1 ft: 200 °F → 200 °F
Open Bedroom
At 7 ft: 70 °F → 90°F
At 1 ft: 50 °F → 50°F
Closed Bedroom
219 Folsom St. Experiment 2

## Slide 20
Impact of Venting the Front Window
At 7 ft: 1300 °F → 1800°F
At 1 ft: 400°F → 1800°F
Burn Room
At 7 ft: 1100 °F → 1100 °F
At 1 ft: 200 °F → 300 °F
Open Bedroom
At 7 ft: 90 °F → 100°F
At 1 ft: 50 °F → 50°F
Closed Bedroom
219 Folsom St. Experiment 2

## Slide 21
Impact of Exterior attack though the
Front Bedroom Window
Exterior Water Application
At 7 ft: 1800°F → 100°F
At 1 ft: 1800°F → 100°F
Burn Room
At 7 ft: 1100 °F → 900 °F
At 1 ft: 300 °F → 200 °F
Open Bedroom
At 7 ft: 100°F → ~100 °F
At 1 ft: 50 °F → 50 °F
Closed Bedroom
219 Folsom St. Experiment 2
~ 60 seconds of water

## Slide 22
Legacy Sofa vs. Modern Sofa
After ~ 4 min.
At 7 ft: 50 °F → 900 °F
At 1 ft: 50 °F → 1400 °F
Living Room
After ~ 6 min.
At 7 ft: 50 °F → 150 °F
At 1 ft: 50 °F → 50 °F
Rear Bedroom
225 Folsom St. Experiment
Notes: Check ventilation

## Slide 23
Impact of Exterior attack though the Front Door
Exterior Water Application
At 7 ft: 100 °F → 80°F
At 1 ft: 70 °F → 75°F
Front Bedroom
At 7 ft: 800 °F → 200 °F
At 1 ft: 200 °F → 50 °F
Rear Bedroom
At 7 ft: 1700 °F → 300 °F
At 1 ft: 1700 °F → 200 °F
Living Room
225 Folsom St. Experiment
~ 60 seconds of water

## Slide 24
Impact of Sprinkler Activation
Sprinkler Application
At 7 ft: 225 °F → 80 °F
At 1 ft: 70 °F → 70 °F
Front Bedroom
226 Folsom St. Experiment 1
Sprinkler activated at 1 min. 15 sec.
After 25 sec. of water flow

## Slide 25
226 Folsom St. Experiment 2
Impact of Venting Middle Bedroom Window
At 7 ft: 67°F → 67°F
At 1 ft: 62°F → 62°F
Closed Front Bedroom
At 7 ft: 450°F → 1000°F
At 1 ft: 70°F → 150°F
At 3 ft: 3% O2 → 14% O2
9% CO2 → 6% CO2
3% CO → 1% CO
Open Middle Bedroom
At 7 ft: 1500°F → 1600°F
At 1 ft: 1600°F → 1700°F
Open Rear Bedroom
At 7 ft: 500°F → 300°F
At 1 ft: 100°F → 100°F
Turnout Gear
At 7 ft: 700°F → 100°F
At 1 ft: °F → 70°F
Living Room
At 7 ft: 90°F → 70°F
At 1 ft: 70°F → 70°F
Closed Rear Bedroom

## Slide 26
226 Folsom St. Experiment 2
~ 60 seconds of water
Impact of Exterior Water through
Ignition Room Window
Exterior Water Application
At 7 ft: 67°F → 63°F
At 1 ft: 62°F → 55°F
Closed Front Bedroom
At 7 ft: 1000°F → 250°F
At 1 ft: 150°F → 70°F
Open Middle Bedroom
At 7 ft: 1600°F → 1200°F
At 1 ft: 1700°F → 1200°F
Open Rear Bedroom
At 7 ft: 500°F → 300°F
At 1 ft: 100°F → 100°F
Turnout Gear
At 7 ft: 700°F → 100°F
At 1 ft: °F → 70°F
Living Room

## Slide 27
Exterior CAF Application
At 7 ft: 1400°F → 750°F
At 1 ft: 1400°F → 750°F
Living Room
Exterior:
At 3 ft: 1300°F → 400°F
5 kW/m2 → 17 kW/m2
Interior:
At 3 ft: 1300°F → 400°F
Turnout Gear
226 Folsom St. Experiment 3
~ 20 seconds of water
Impact of CAF through Front Door

## Slide 28
Exterior CAF Application
At 7 ft: 750°F → 500°F
At 1 ft: 750°F → 400°F
Living Room
Exterior:
At 3 ft: 400°F → 700°F
17 kW/m2 → 0 kW/m2
Turnout Gear
226 Folsom St. Experiment 3
~ 40 seconds of water
Impact of CAF through Front Door

## Slide 29
227 Folsom St. Experiment
~ 60 seconds of water
Exterior Water Application
Outlet
At 7 ft: 1800°F → 400°F
At 1 ft: 1800°F → 400°F
Basement
At 7 ft: 350°F → 200°F
At 1 ft: 250°F → 150°F
CD Bedroom
At 7 ft: 400°F → 200°F
At 1 ft: 200°F → 150°F
BC Bedroom
At 7 ft: 400°F → 200°F
At 1 ft: 250°F → 150°F
Kitchen
At 7 ft: 400°F → 200°F
At 1 ft: 150°F → 100°F
Living Room
Inlets
Impact of Exterior Attack through Basement Door
At 3 ft: 300°F → 200°F
3 kW/m2 → 2 kW/m2
Turnout Gear

## Slide 30
Impact of Exterior Attack through
The Side D Window
At 7 ft: 1000 °F → 1000 °F
At 1 ft: 900 °F → 900 °F
Fire Room
At 7 ft: 900 °F → 800 °F
At 1 ft: 500 °F → 600 °F
Room 2
At 7 ft: 700 °F → 650 °F
At 1 ft: 200 °F → 300 °F
Room 1
At 7 ft: 600°F → 900°F
At 1 ft: 100°F → 100°F
Room 4
At 7 ft: 1700 °F → 700 °F
At 1 ft: 1700 °F → 700 °F
Room 3
230 Folsom St. Experiment
~ 15 seconds of water
Exterior Water Application

## Slide 31
Exterior Water Application
Impact of Exterior Attack through
The Side D Window
At 7 ft: 1000 °F → 1100 °F
At 1 ft: 900 °F → 700 °F
Fire Room
At 7 ft: 800 °F → 800 °F
At 1 ft: 600 °F → 400 °F
Room 2
At 7 ft: 650 °F → 600 °F
At 1 ft: 300 °F → 100 °F
Room 1
At 7 ft: 900°F → 600°F
At 1 ft: 100°F → 100°F
Room 4
At 7 ft: 700 °F → 100°F
At 1 ft: 700 °F → 100°F
Room 3
230 Folsom St. Experiment
Additional ~ 25 seconds of water