## Sheet1
Ignition:Test Time = 0:00 April 22,2014 | Minutes | Seconds | Data Time (s) | Data Time = 90 s | Video Deck Time = 16:50:50 | Video Recording Time = 19:31
|  |  |  | Event | Observation
|  |  | 0 | Start of pretest
|  |  | 90 | Start of test
1:20 | 1 | 20 | 170 |  | Smoke out of Front Door
5:00 | 5 | 0 | 390 |  | Fire is decay stage, steady state
9:00 (confirm with video and detail opening) | 9 | 0 | 630 | Vent to fire room failing open, Change in ventilation | Flames out of south door, room A
10:00 | 10 | 0 | 690 | Opened water line to monitor, SS 95 gpm
10:04 | 10 | 4 | 694 |  | Water flowing from montor
11:00 | 11 | 0 | 750 | Water flow off
13:00 | 13 | 0 | 870 | Monitor on, narrow fog, 95 gpm
14:10 | 14 | 10 | 940 | Monitor on, changed spray pattern to wide fog
15:10 | 15 | 10 | 1000 | Monitor in North Doorway still on, Handline operated into South Doorway, SS 95 gpm
16:15 | 16 | 15 | 1065 | Handline off
18:00 | 18 | 0 | 1170 | Monitor off
19:00 | 19 | 0 | 1230 | Handline, Narrow Fog 95 gpm South Doorway