## Sheet1
Ignition:Test Time = 0:00 April 24,2014 | Minutes | Seconds | Data Time (s) | Data Time = 8:00 | Video Deck Time = 11:04:45 | Video Recording Time = 8:40
|  |  |  | Event | Observation
|  |  | 0 | Start of pretest
|  |  | 480 | Start of test
1:20 | 1 | 20 | 560 |  | Smoke out of Front Door
3:00-4:15 |  |  |  | Size up | Fire is decay stage, steady state
8:00 | 8 | 0 | 960 | Water flowing from monitor, SS, 95 gpm Mid Ceiling
9:00 | 9 | 0 | 1020 | Water off
11:00 | 11 | 0 | 1140 | Water flowing from monitor, narrow fog, 95 gpm Mid Ceiling
12:00 | 12 | 0 | 1200 | Monitor off
14:30 | 14 | 30 | 1350 | Water flowing from monitor, changed spray pattern to wide fog, 95 gpm
15:49 | 15 | 49 | 1429 | Monitor off
Smoke explosion/backdraft event
17:00 | 17 | 0 | 1500 | Opened small hole in North Door, 8 inch by 9 inch
17:15 | 17 | 15 | 1515 | Flowing handline into fire room through small hole, narrow fog, 95 gpm
19:15 | 19 | 15 | 1635 | Handline Off
19:45 | 19 | 45 | 1665 | South Door to Fire Room Vented
21:20 | 21 | 20 | 1760 | Handline attack from North doorway, moved in for suppression SS, 95 gpm